## Sheet1
Sample Name | Vial | Action | Dilution | Notes
CondBlank1 | 1 |  |  | GENERAL NOTE: need to blank correct (but some of the blanks are very high after high conc samples). Both TN curves were used (first TN curve used for any values below 3mg/L, other TN curve used for any values above 3mg/L). EXCEPT for everything after CKSTD5 which I referred to the second cal curve since, lmk if you would rather me use the first one for these values.
CondBlank2 | 2
CondBlank3 | 3
STD_0-100ppmNPOC | 4, 5, 6, 7, 8, 9, 10, 11, 12, 13 |  |  | Slope: 3.745, int: -0.7259, r^2: 0.9998
STD_0-3ppmTN | 14, 15, 16, 17, 18, 19, 20, 21 |  |  | Slope: 10.22, int: -0.1971, r^2: 0.9994
Blank1 | 22 |  |  | NPOC: 0.3491mg/L, TN: 0.02590mg/L
CKSTD1_1ppmCN | 23 |  |  | NPOC: 1.292mg/L, TN: 1.018mg/L
EC1_K010_UP | 24 |  | 2
EC1_K013_UP | 25 |  | 2
EC1_K018_UP | 26 |  | 2
EC1_K019_UP | 27 |  | 2
EC1_K025_UP | 28 |  | 2
EC1_K026_UP | 29 |  | 2
EC1_K035_UP | 30 |  | 2
EC1_K048_UP | 31 |  | 2
EC1_K050_UP | 32 |  | 2
EC1_K061_UP | 33 |  | 2
Blank2 | 34 |  |  | very high but after high concentration samples, should probably not use this for blank corrections. NPOC: 1.171mg/L, TN: 0.06718mg/L
CKSTD2_1ppmCN | 35 |  |  | NPOC: 1.545mg/L, TN: 0.9987mg/L
EC1_K035_UP_rep | 36 |  | 2
EC1_blank-filter1 | 37 |  | 2
EC1_blank-sol1 | 38 |  | 2
EC1_K010_T | 39 |  | 2
EC1_K013_T | 40 |  | 2
EC1_K018_T | 41 |  | 2
EC1_K019_T | 42 |  | 2
EC1_K025_T | 43 |  | 2
EC1_K026_T | 44 |  | 2
EC1_K035_T | 45 |  | 2
Blank3 | 46 |  |  | NPOC: 0.7768mg/L, TN: 0.05003mg/L
CKSTD3_1ppmCN | 47 |  |  | NPOC: 1.339mg/L, TN: 0.9425mg/L
EC1_K048_T | 48 |  | 2
EC1_K050_T | 49 |  | 2
EC1_K061_T | 50 |  | 2
EC1_K018_T_rep | 51 |  | 2
EC1_blank-filter2 | 52 |  | 2
EC1_blank-sol2 | 53 |  | 2
EC1_K010_W | 54 |  | 2
EC1_K013_W | 55 |  | 2
EC1_K018_W | 56 |  | 2
EC1_K019_W | 57 |  | 2
Blank4 | 58 |  |  | NPOC: 0.7333mg/L, TN: 0.07903mg/L
CKSTD4_1ppmCN | 59 |  |  | NPOC: 1.381mg/L, TN: 0.9746mg/L
EC1_K025_W | 60 |  | 2
EC1_K026_W | 61 |  | 2
EC1_K035_W | 62 |  | 2
EC1_K048_W | 63 |  | 2
EC1_K050_W | 64 |  | 2
EC1_K061_W | 65 |  | 2
EC1_K026_W_rep | 66 |  | 2
EC1_blank-filter3 | 67 |  | 2
EC1_blank-sol3 | 68 |  | 2
Blank5 | 69 |  |  | NPOC: 0.6814mg/L, TN:0.05626mg/L
CKSTD5_1ppmCN | 70 |  |  | NPOC: 1.527mg/L, TN: 0.9508mg/L
CondBlank1 | 71
CondBlank2 | 72
CondBlank3 | 73
STD_0-35ppmTN | 74, 75, 76, 77, 78, 79, 80, 81 |  |  | Slope: 10.79, int: -2.321, r^2: 0.9999
Blank6 | 82 |  |  | NPOC: 0.4148mg/L, TN: 0.3345mg/L
Blank7 | 83 |  |  | NPOC: 0.4908mg/L, TN: 0.2596mg/L
CKSTD6_1ppmCN | 84 |  |  | NPOC: 1.158mg/L, TN: 1.149mg/L
Blank8 | 85 |  |  | NPOC: 0.4483mg/L, TN: 0.2615mg/L
Blank9 | 86 |  |  | NPOC: 0.4786mg/L, TN: 0.2221mg/L
Blank10 | 87 |  |  | NPOC: 0.4011mg/L, TN: 0.2338mg/L
Blank11 | 88 |  |  | NPOC: 0.4045mg/L, TN: 0.2256mg/L
Blank12 | 89 |  |  | NPOC: 0.3948mg/L, TN: 0.2366mg/L
Blank13 | 90 |  |  | NPOC: 0.5035mg/L, TN: 0.2209mg/L